August 26, 2002

BOARD OF PUBLIC WORKS PROCEEDINGS

Of the Board of Public Works of the City of Phillips at a regular meeting held in the council room on August 26, 2002.

Leon Namtzu called the meeting to order at 4:00 PM.

Committee members present:  Mayor Boho, Leon Namtzu, Jeffrey Fahl, Edward Lasee, Terry Staroba and Barb Revak.

Visitors present: John Iverson, Grace Kielsmeier and Todd Toelle.

###### Public Comment

NONE

###### Review Minutes July 29, 2002

Motion by Jeffrey Fahl, seconded by Edward Lasee to accept the minutes as presented.  CARRIED

###### Update Briefing on Victoria Street

According to John Iverson the project is done and it looks good.

Leon Namtzu stated that he received a lot of compliments on J & L Excavating, LLC and how they really tried not to inconvenience the residents that lived in the area of the construction.

Terry Staroba brought up the Four Season’s Development Project.  Terry wanted to inform the board of the problem by the Skyline Supper Club parking lot.  According to Terry, dirt on the west side of the parking lot keeps washing down the hill.  J & L Excavating, LLC finished the restoration and grass was starting to grow.  The Four Seasons Development crew added a stairway on the hill and now dirt/topsoil keeps washing down.  This problem is Marquip’s and not the City of Phillips.  Terry would like a letter sent to Marquip and a copy sent to Randy Beil, owner of Skyline Supper Club, explaining that the city is not responsible for the problem.

Ed Lasee suggested that the City Attorney send this letter in case there are any legal issues.  All agreed.

There was a change order from J & L Excavating, LLC, for a credit of $1,975.70.

Motion by Ed Lasee, seconded by Jeffrey Fahl to recommend to the Common Council to accept change order #1 from J & L Excavating, LLC, for a credit amount of $1,975.70.  CARRIED

###### Results and Possible Action Recommendation On Smoke Testing

John Iverson stated that the project was finished in 3 days instead of 3 weeks thanks to help from the Department of Public Works crew.  They found a lot of man hole covers with open pick holes, which would cause some of the water infiltration.  Man hole covers with pick holes don’t belong on sanitary sewer lines and should be replaced or fixed.  John had a map to show the board where the problem areas are.  There appears to be a big problem on Hwy 13 just north of the Trinity Lutheran Church that needs to be addressed.  Floor drains are not allowed unless there is a properly working sump crock.  The Water/Sewer Utility crew will be going around and checking out all the houses.  Todd Toelle requested ID’s so when they go door to door they have identification to show.  Todd also stated they will have to do this in split shifts because people work different shifts and they won’t be able to catch some at home during the day.  There will also be a checklist to follow.

###### Construction Policy for Cleanouts

John Iverson suggested the City of Phillips have a policy on sanitary sewer cleanouts.  He feels that when a cleanout is installed, Director of Public Works Terry Staroba, should inspect it to make sure it is proper.  There have been some problems with the tops being broken off because they stick up too high and other issues.

###### Four Season Project Street Conditions

There will be a cost of $34,898 for the oversized water main that the City of Phillips requested Four Seasons to install.  This came in lower than originally planned.  There will also be a cost of $24,171 for requesting Marquip to hold off on blacktopping the roads.  These expenses will be charged to TID #4.

###### Razing of Old Garage Located on the City Parking Lot

Tim and Tonda Werner have given the City of Phillips permission to raze the old garage building located on the corner of Lake Avenue and Chestnut Street.  This property has been surveyed and the building will be down by the end of next week.

Mayor Boho received a request to purchase this property to put up a business.

Leon Namtzu doesn’t want to sell because the City of Phillips is in need of downtown parking.

###### Price Youth Baseball Insurance

Motion by Leon Namtzu, seconded by Jeffrey Fahl to recommend to the Common Council to pay $184.87 to the Price Youth Baseball for the city’s share of the insurance premium policy.  CARRIED

###### Status of Construction Punch List, Miron Construction Company, Inc.

The punch list is still being worked on.  Chris Kaempfer was at the plant.  John Martwick has not signed off on anything yet.

###### Parking Space in front of Belan Realty

Leon Namtzu has been in contact with the DOT and the City of Phillips is not to give Ed Belan the parking space.  There is not enough room and it would not be legal to move the crosswalk at this time.

###### Compensation-Don & Chris Marek

Don and Chris Marek are requesting $500 in compensation for the water backup they had in their basement on August 4 due to a blockage in the sewer main.

Motion by Ed Lasee, seconded by Jeffrey Fahl to recommend to the Common Council to pay $500 to Don and Chris Marek for the damage created by the backup in their basement due to a blockage in the city main.  CARRIED

###### Waste Management Facility

Motion by Jeffrey Fahl, seconded by Ed Lasee to instruct Clerk/Treasurer Lamoreaux to send a letter to Waste Management stating they have 30 days to clean up their facility or the City of Phillips will contact the DNR and the County Health Department and authorizing Mayor Boho to sign it.  They would also like a copy sent to Gary Chase and Michael Reed.

###### Price Youth Activities, LTD. Lease Agreement

Motion by Ed Lasee, seconded by Jeffrey Fahl to recommend to the Common Council to accept the new lease agreement with Price Youth Activities, LTD.  CARRIED

###### Ordinance on Floor Drains

Per Director of Public Works Terry Staroba, this is not needed because the city already has one.

###### Invoice Payment

Motion by Jeffrey Fahl, seconded by Ed Lasee to pay the Strand Electrical Service, Inc. invoices, #15826 in the amount of $1,176.88 and #15955 in the amount of $3,352.54.  CARRIED

Motion by Jeffrey Fahl, seconded by Ed Lasee to pay the Ayres Associate invoices: #82474	$989.70

#82574	$1,045.85	#82573	$3,192.70	#82572	$1336.50

CARRIED

Next BPW meeting to be held on September 23, 2002 at 5:00 PM

Motion to adjourn made by Jeffrey Fahl, seconded by Edward Lasee.  CARRIED

Meeting adjourned at 5:55 PM

Attest:______________________

Deputy Clerk/Treasurer

CC:	City File			Common Council

Mayor Boho			City Attorney Bilz

Terry Staroba		Barb Revak