OCT 17, 2001

BOARD OF PUBLIC WORKS PROCEEDINGS

Of the Board of Public Works of the City of Phillips at a regular meeting held in the council room on October 17, 2001.

Joe Perkins called the meeting to order at 1:30 PM.

Committee members present:  Joe Perkins, Bill McBain, Leon Namtzu, Terry Staroba and Barb Revak.

Visitors present: John Martwick, Jim Brunette, Craig Schemberger and Guy Kiser.

###### Discuss and Possible Action on Correction to WWTP Building

The blower building, now the blower room, settled during construction of new buildings at the WWTP.  Miron Construction tried to correct the situation but the blower room would not move.  A letter was sent from Atlas stating the blower room building will not settle.  Jim Brunette and Guy Kiser feel that the building is stable.

Terry Staroba, Director of Public Works, would like Miron Construction to give the City of Phillips a 10-year guarantee that the building won’t settle any more.  Guy said he couldn’t do that without his bosses’ approval.  They have already spent money trying to straighten out the building and have attached piers under the foundation, which go down 15’ to 18’.  Guy feels this was not all their fault.  Something was buried under this building that they were not aware of.  They feel there was a void and when they started construction on the other buildings the vibrations may have caused the settling.  They are willing to do some cosmetic corrections so it isn’t quite so obvious that the building is tilted.  Miron Construction is willing to stain the old portion to match the new portion of the blower building and plant some trees out in front.  Joe Perkins would like Guy Kiser to go to his boss and ask if they will give the City of Phillips a 5-year guarantee against more settling.  Guy Kiser said that Miron Construction won’t want the liability for the unknown that may be hiding under the building if they give the City of Phillips satisfaction this will be stated in the guarantee.

Joe Perkins told Guy Kiser to go ahead with staining the old portion of the blower building and planting the trees prior to bad weather and the BPW will deal with the guarantee later.

Motion to adjourn made by Bill McBain.  Seconded by Leon Namtzu.  CARRIED

Meeting adjourned at 2:00 PM

Attest:______________________

Deputy Clerk/Treasurer

CC:	City File		Common Council

Mayor Corcilius		City Attorney Bilz

Terry Staroba		Barb Revak