City of Phillips

Notice of Meeting of Board of Public Works

Municipal Building:  Council Room

174 S Eyder Avenue

October 2, 2007 at 5:00 p.m.

Mayor:  Jeffrey V. Fahl

Committee members:  Linda Johnson, Charles Peterson, Dorothy Hanish

Department Head: Terry Staroba

Clerk-Treasurer:  Mary M. Willett

This meeting is held in compliance with Wisconsin’s Open Meeting Law, WI § Chapter 19, Subchapter V.  As such it is open to the public.

This meeting may constitute a quorum of the Common Council or other city committees.

- Call to Order (presiding officer)

  - Greeting

  - Certification of Compliance with Open Meeting Law

  - Pledge of Allegiance

- Roll Call

Linda Johnson___Charles Peterson___Dorothy Hanish___

Mayor Jeff Fahl___

- Set next month’s meeting date and time:  Tuesday November 6th at 5:00 p.m.

- Public Comment

- Motion to accept/amend minutes of 9-06-2007

- Paul Heidenreich – water problems - update

- Pavilion progress –updates

- Selections/changes for the pavilion

- DOT update:  HWY 13 access to North Business Park/DOT/Ayres

- Deer Management Plan

- Municipal Street Improvement Program

- Invoices

- Department Updates/ Department Budget 2007

- Adjournment

Meeting Minutes

Board of Public Works

October 2, 2007

Chair Linda Johnson Called the meeting of the Board of Public Works meeting to order at 5:01 p.m.

In addition to Chair Johnson, Mayor Jeff Fahl, Dorothy Hanish, Mike Stoffel, Bronson Thalacker, Paul Heidenreich, and Mary Willett were present.

The next meeting of the BPW was set for Tuesday November 6th at 5:00 p.m.

Hanish/Johnson motioned to adopt the minutes of the September 6th, 2007 BPW meeting as presented.  Carried.

Bronson Thalacker explained the procedures that the City Water Department has undertaken in attempts to clear the water for the Heidenreich household since the last meeting in September.  On the 13th and the 18th of September, the City flushed the lines – the water was clear at the main. Bronson felt the problem must be in the service line.  He suggested that the City could snake or auger the 75-100’ lateral to try to ascertain what is happening. No one locally has the equipment.

Paul Heidenreich gave further samples to Mayor Fahl at work.

Paul told the committee that the dark water is coming out of the lines prior to the house.  He has purchased a new filter for $46 that is doing a better job of getting the manganese out of the water.  Paul brought the filter that had been in for 3 weeks – manganese (black powdery substance filled and fell out on the table) – and a jar of water that was taken from the bowl that the filter sits in (it was caramel colored and settled out rapidly when set back down).  Following the meeting last month, Paul did as Terry advised and watered for two days straight to slush out the lines.  Periodically, without warning – there are still chunks which come through the water lines.

T&C out of Medford has given Paul Heidenreich a rough quote of $850 for a system that would take care of h is water problems.  Every 2-3 years, a $150 element would need to be replaced.  Paul took the water samples down to them for the analysis.

Paul understands that the City has done the flushing and it comes out clean.  But the problem still exists.

Bronson offered that it could be that he is a low point in the line.

Mike Stoffel and Bronson discussed diagnostic options and some possible solutions.  Iron bacteria may be part of the problems now.

The committee decided to put the item on the Council’s agenda for next Tuesday October 9th, and have Mary Willett check out options with PSC, check out to see who could run a snake in the line and what the cost would be ( a wateroscopy).  Paul will get a solid quote in writing for the new system that would resolve his issues.

Hanish/Johnson motioned to accept the proposal from Jakel Plumbing for the grinder pump for the Elk Lake Park Pavilion.  Carried.

Hanish/Johnson motioned to authorize a change order for APEX to redesign the heating system for the Elk Lake Park Pavilion, for APEX to submit the redesign to the Wisconsin Department of Commerce, and for Huotari to resubmit the new cost proposal & authorize the installation of the new system (utilizing off-peak electricity, in-floor tubing & heat) to be installed.  Carried.

The partitions for the restrooms were discussed.  Finishes and the options considered were:  phenolic, painted metal and stainless steel.  The committee came to agreement that stainless steel is the best option for the pavilion location.

City Engineer, Mike Stoffel of Ayres Associates, said that the Wisconsin DOT has issued the permit for PUSH for the directional drilling for the water/sewer extensions to the Elk Lake Pavilion.

Mr. Stoffel said that the Wisconsin DOT also needs to be informed of the City’s attempts to resolve the private driveway issue north of Phillips so that progress can be made for the highway access to the north business park.  Mike will bring forward John Iverson’s estimates and time schedule for this project at the next meeting.

The committee reviewed the Deer Hunt process to date.  The plan has been forwarded to the police chief for input.  Further discussion will occur at the November meeting.

Mayor Fahl will be attending the County MSIP road improvement fund meeting for Price county at the end of the month.  Either the Depot Road or the block of Eyder Street between Chestnut and Maple will be forwarded for the share of the funding if we are allowed to submit.  Mayor Fahl will check with Public Works Director Staroba to determine his preference.

Hanish/Johnson motioned to adjourn.  Carried.  Meeting adjourned at 6:25 p.m.

Mary M. Willett

City Clerk-Treasurer